**Square Mono (Monoline)**

**SPECIFICATION GUIDELINES**

The open-cell ceiling will be created using PLAFOMETAL SQUARE MONO single skin cells made from **\* aluminum** in dimensions of 600 x 600 mm and with a thickness of 0.6 mm.

Open cells comprise I-shaped profiles measuring 20 mm high.

The cells will be square with an interval of 33 mm.

**Installation**

The ceiling will be installed on a system of T15 or T24 grids comprising carriers suspended from the structure with the appropriate fixings as well as 600 mm cross tees.

A channel trim of the same color as the grid will ensure the peripheral finish at the level of the walls and partition walls.

The open cells will rest on the grid, and their underside will be flush with the lower face of the grid, which will be fully exposed.

The product will be fitted in accordance with the requirements of the local code of practice. For specific applications, users must contact PLAFOMETAL to ensure that the technical characteristics are suitable for the intended use.

**\* Insert your choice in the drop-down list of colors**

